## Systems
System Number | System Family | System Classification | System Type Name | System Abbreviation | Material / Manufacture | System Name Sample | Filter Name | Filter by | Revit Colors (RGB)
21-04 20 10 Domestic Water Distribution
211 | Piping System | Domestic Cold Water | 211 Domestic Cold Water | CW |  | CW 211.001 | System Type - 211 Domestic Cold Water | System Name - Begins With - CW | Blue
212 | Piping System | Domestic Hot Water | 212 Domestic Hot Water | HW |  | HW 212.001 | System Type - 212 Domestic Hot Water | System Name - Begins With - HW | Magenta
213 | Piping System | Domestic Hot 140 Water | 213 Domestic Hot 140 Water | HW 140 |  | HW 140 213.001 | System Type - 213 Domestic Hot 140 Water | System Name - Begins With - HW 140 | 255 000 128
214 | Piping System | Domestic Hot Recirc Water | 214 Domestic Hot Recirc Water | HWC |  | HWC 214.001 | System Type - 214 Domestic Hot Recirc Water | System Name - Begins With - HWC | 255 128 000
215 | Piping System | Domestic Hot 140 Recirc Water | 215 Domestic Hot 140 Recirc Water | HWC 140 |  | HWC 140 215.001 | System Type - 215 Domestic Hot 140 Recirc Water | System Name - Begins With - HWC 140 | 255 157 111
21-04 20 20 Sanitary Drainage
222 | Piping System | Sanitary | 222 Sanitary Pipe | SAN |  | SAN 222.001 | System Type - 222 Sanitary Pipe | System Name - Begins With - SAN | Red
224 | Piping System | Vent | 224 Sanitary Vent Pipe | VP |  | VP 224.001 | System Type - 224 Sanitary Vent Pipe | System Name - Begins With - VP | 255 128 000
226 | Piping System | Sanitary | 226 Condensate Drain Pipe | CD |  | CD 226.001 | System Type - 226 Condensate Drain Pipe | System Name - Begins With - CD | 128 000 064
21-04 20 60 Process Support Plumbing Systems
261 | Piping System | Other | 261 Natural Gas | G |  | G 261.001 | System Type - 261 Natural Gas | System Name - Begins With - G | 255 128 000
262 | Piping System | Other | 262 Liquid Рropane | LP |  | LP 262.002 | System Type - 262 Liquid Рropane | System Name - Begins With - LP | 128 128 000
21-04 30 20 Heating Systems
321 | Piping System | Hydronic Supply | 321 Heating Water Supply | HWS |  | HWS 321.001 | System Type - 321 Heating Water Supply | System Name - Begins With - HWS | Green
322 | Piping System | Hydronic Return | 322 Heating Water Return | HWR |  | HWR 322.001 | System Type - 322 Heating Water Return | System Name - Begins With - HWR | Cyan
323 | Piping System | Other | 323 Steam Condensate | SCR |  | SCR 323.001 | System Type - 323 Steam Condensate | System Name - Begins With - SCR | 128 000 128
324 | Piping System | Other | 324 Steam Low Presure | STM |  | STM 324.001 | System Type - 324 Steam Low Presure | System Name - Begins With - STM | Cyan
21-04 30 30 Cooling Systems
331 | Piping System | Hydronic Supply | 331 Chilled Water Supply | CWS |  | CWS 331.001 | System Type - 331 Chilled Water Supply | System Name - Begins With - CHWS | Magenta
332 | Piping System | Hydronic Return | 332 Chilled Water Return | CWR |  | CWR 332.001 | System Type - 332 Chilled Water Return | System Name - Begins With - CHWR | 000 128 255
333 | Piping System | Hydronic Supply | 333 Condenser Water Supply | CDS |  | CDS 333.001 | System Type - 333 Condenser Water Supply | System Name - Begins With - CDS | Green
334 | Piping System | Hydronic Return | 334 Condenser Water Return | CDR |  | CDR 334.001 | System Type - 334 Condenser Water Return | System Name - Begins With - CDR | 128 255 255
336 | Piping System | Hydronic Suction | 336 Refrigerant Suction | RS |  | RS 336.001 | System Type - 336 Refrigerant Suction | System Name - Begins With - RS | 000 128 064
337 | Piping System | Hydronic Return | 337 Refrigerant Return | RR |  | RR 337.001 | System Type - 337 Refrigerant Return | System Name - Begins With - RR | 000 128 064
338 | Piping System | Other | 338 Refrigerant Piping | RP |  | RP 338.001 | System Type - 338 Refrigerant Piping | System Name - Begins With - RP | 084 167 167
21-04 30 60 Ventilation
361 | Duct Systems | Supply Air | 361 Supply Air | SA |  | SA 361.001 | System Type - 361 Supply Air | System Name - Begins With - SA | Green
362 | Duct Systems | Return Air | 362 Return Air | RA |  | RA 362.001 | System Type - 362 Return Air | System Name - Begins With - RA | 255 128 000
363 | Duct Systems | Exhaust Air | 363 Exhaust Air | EA |  | EA 363.001 | System Type - 363 Exhaust Air | System Name - Begins With - EA | 128 000 128
364 | Duct Systems | Supply Air | 364 Outside Air | OA |  | OA 364.001 | System Type - 364 Outside Air | System Name - Begins Width - OA | Green
366 | Duct Systems | Exhaust Air | 366 Flue Air | FLUE |  | FLUE 366.001 | System Type - 366 Flue Air | System Name - Begins With - FLUE | 128 000 128
367 | Duct Systems | Exhaust Air | 367 Combustion Air | COA |  | COA 367.001 | System Type - 367 Combustion Air | System Name - Begins With - COA | Green
21-04 40 30 Fire Protection
431 | Piping System | Fire Protection Wet | 431 Fire Suppression | FS |  | FS 431.001 | System Type - 431 Fire Suppression | System Name - Begins With - FS | 255 128 128
432 | Piping System | Fire Protection Dry | 432 Fire Suppression Dry | FPD |  | FPD 432.001 | System Type - 432 Fire Protection Dry | System Name - Begins With - FPD
432 | Piping System | Fire Protection Other | 433 Fire Suppression Other | FPO |  | FPO 433.001 | System Type - 433 Fire Protection Other | System Name - Begins With - FPO
432 | Piping System | Fire Protection Pre-Action | 434 Fire Suppression Pre-Action | FPP |  | FPP 434.001 | System Type - 434 Fire Protection Pre-Action | System Name - Begins With - FPP
21-04 50 20 Electrical Service and Distribution
521 | Electrical System | Power Distribution | 521 Power Distribution | PD |  | NP 521.001 | System Type - 521 Power Distribution | Electrical System Name - Begins With - PD | 140 255 140
522 | Electrical System | Power Distribution | 522 Emergency Power Distribution | EPD |  | EPD 522.001 | System Type - 522 Emergency Power Distribution | Electrical System Name - Begins With - EPD | 255 170 170
523 | Electrical System | Power Distribution | 523 Uninterruptible Power Distribution | UPS |  | UPS 523.001 | System Type - 523 Uninterruptible Power Distribution | Electrical System Name - Begins With - UPS | 040 128 255
524 | Electrical System | Power Distribution | 524 Facility Grounding | FG |  | FG 524.001 | System Type - 524 Facility Grounding | Electrical System Name - Begins With - FG | 170 085 085
21-04 50 40 Lighting
541 | Electrical System | Lighting | 541 Lighting | LT |  | LT 541.001 | System Type - 541 Lighting | Electrical System Name - Begins With - LT | 242 232 174
542 | Electrical System | Emergency Lighting | 542 Emergency Lighting | EL |  | EL 542.001 | System Type - 542 Emergency Lighting | Electrical System Name - Begins With - EL | 255 128 064
21-04 60 10 Data Communications
611 | Communications | Data Communications | 611 Data Communications | DC |  | DC 611.001 | System Type - 611 Data Communications | Electrical System Name - Begins With - DC | 238 147 210
21-04 60 20 Voice Communications
611 | Communications | Voice Communications | 621 Voice Communications | VC |  | VC 621.001 | System Type - 621 Voice Communications | Electrical System Name - Begins With - VC | 255 195 225
21-04 70 10 Access Control and Intrusion Detection
710 | Elecrtonic Safety and Security | Access Control and Intrusion Detection | 711 Access Control and Intrusion Detection | ACID |  | ACID 711.001 | System Type - 711 Access Control and Intrusion Detection | Electrical System Name - Begins With - ACID | 095 095 255
21-04 70 30 Elecrtonic Surveillance
730 | Elecrtonic Safety and Security | Electronic Surveillance | 731 Electronic Surveillance | ES |  | ES 731.001 | System Type - 731 Electronic Surveillance | Electrical System Name - Begins With - ES | 130 255 255
21-04 70 50 Detection and Alarm
750 | Elecrtonic Safety and Security | Fire Detection and Alarm | 751 Fire Detection and Alarm | FDA |  | FDA 751.001 | System Type - 751 Fire Detection and Alarm | Electrical System Name - Begins With - FDA | 255 065 065
21-04 70 70 Electronic Monitoring and Control
770 | Elecrtonic Safety and Security | Electronic Monitoring and Control | 770 Electronic Monitoring and Control | MC |  | MC 770.001 | System Type - 770 Electronic Monitoring and Control | Electrical System Name - Begins With - MC | 220 220 180
Note on A9: Remove -Ron
Note on A33: Remove -Ron
Note on E33: FLA? -Anton Shevtsov FLA = Full Load Amps -Ron